## Sheet1
Critical Readings - A/C & H/P Service Survey | [5 empty] | Date:
The more information you give the more we can help you
Distributor: |  |  | Contact Name and Phone#:
Dealer: |  |  | City & State:
O.D. Unit Type (A/C H/P) and Make: |  | Model#: |  |  |  | Serial#:
I.D. Unit Type (Furnace A/H) and Make: |  | Model#: |  |  |  | Serial#:
Model#:
Indoor Coil Type and Make: |  |  |  | Metering Device Type: |  |  | Size or Part Number#:
Symptoms:
*Line Set Size and length #ft, rise or drop # ft
* Suction Pressure |  | *Outdoor Dry Bulb Temperature
* Suction Line Temp
|  | * ID Entering Dry Bulb |  |  |  | *Indoor CFM
(T&P) Suction Saturation
|  | *ID Leaving Dry Bulb |  |  |  | *Blower Speed Setting (Cool)
*Suction Superheat
|  | ID Delta T Dry Bulb |  |  |  | *Indoor Static Pressure
* Liquid Pressure
|  |  |  | Indoor |  |  | Enthalpy (THC)
(T&P) Liquid Saturation |  | *Entering WB |  |  |  |  | N/A
* Liquid Line Temp |  | *Leaving WB |  |  |  |  | N/A
*Liquid Subcooling |  |  |  | Delta THC
Capacity = Delta THC X 4.5 X cfm = Capacity
Discharge Pressure |  |  |  | N/A
*Discharge Line Temp
|  | Compressor |  | Rated on Plate | Actual
Discharge Saturation |  | * Volts
Discharge Superheat |  | *Amps
NOTE: * Are absolutely required readings